## Slide 1
Southern California Regional Watershed Supply Alternatives
“The Role of Stormwater”
Richard Atwater, Executive Director Southern California Water Committee
Senate Natural Resources Comm.
March 12, 2013

## Slide 2: So Cal & Stormwater
Approximately ½ of Southern CA’s water comes from imported sources:
  Colorado River
  Sacramento-San Joaquin River Delta
Climate change, aging infrastructure and impacted habitats are further reducing the reliability of the major delivery systems of imported water
CA needs to invest in statewide action to improve reliability of imported water & we need to develop more local water supply
More than 3 million people added to the population while imported water use has remained essentially the same

## Slide 3: Role of Stormwater
Stormwater capture, with imported water and recycled water, is the foundation to local groundwater supplies.
Clean Water Act “MS4 permits focus on urban runoff pollution”
Water Bond Funding --Multibenefits
in IRWMs can do both!

## Slide 4
2010 Service Area Water Supplies
Total Retail Demand: 3.6 MAF

## Slide 5
Secondary
Tertiary
Soil-Aquifer Treatment
Primary
Groundwater Blend & Hold
Distribution System
Industrial & Brine Export
75% TOC Removal to ±2 mg/L
Industrial Pretreatment & Source Control
Influent TOC
Avg. 165 mg/L
50% TOC Removal
to ±1 mg/L
San Gabriel River Recycled Water Production Cycle

## Slide 6
Santa Ana River Watershed

## Slide 8
Deep Percolation of Stormwater
Water bearing sand and gravel
Impervious clay and salts
Surface soil
Onsite infiltration practices
Not to scale

## Slide 9
Flood Protection and Drainage
Erosion and Sedimentation
Traditional Water Supply
Water Quality Streetscape
Habitat and Environment
Recreation Trails and Education
Site Specific LID -- Water Supply and Water Quality
Multi-Use Project Types

## Slide 10
Stormwater Capture Types
Individual
Neighborhood
Large Scale

## Slide 11
Small Scale Projects
Whitnall Highway Power Line Easement Project
LADWP Project.
Conceptual plan being developed.
Project expected to increase groundwater recharge by more than 110 acre-feet per year.
Goal is to capture and infiltrate stormwater beneath LADWP power lines using swales and ponds.
Designs expected in 2013.

## Slide 12
Large Scale Projects
Lopez Spreading Grounds Project
LACFCD/LADWP Project.
Increased recharge by 750 acre-feet annually.
Designs expected in 2013.
Estimated cost $8 million.
Pacoima Spreading Grounds Project
LACFCD/LADWP Project.
Estimated cost $32 million.
Increased recharge by 2,000 acre-feet annually.
Designs expected in late 2012.
Courtesy of Los Angeles Department of Water and Power

## Slide 13
Stormwater: A Smart & Sensible Solution
450,000 acre-feet of stormwater is currently captured and recharged into So Cal groundwater basins per year (enough water for 3 million people/year)
Billions of gallons are lost every year because we don’t have enough stormwater capture systems
Capturing stormwater is viable, cost-effective and environmentally preferable
Capturing stormwater provides numerous benefits, including:
        Creating more local water supplies
        Reducing polluted run-off
        Providing a cost-effective water supply option

## Slide 14
Water Bond Funding
Stormwater funding for both clean water and supply integration is done best through multiple benefit integrated watershed planning, like the success of the Santa Ana River
Bond funding should encourage this type of grants to watershed multi benefit projects.

## Slide 15
Thank You!
Richard Atwater
Southern California Water Committee
For more information, please visit www.socalwater.org.